## general
POPULATION PROJECTION FOR 2041
ULB Name | Area(SQ.KM) | Present Population(2024) | Present No of HH(2024) | Projected Population(2021) | Projected Population(2031) | Projected Population(2041) | Total No. of Habitations(2041) | Growth Rate(%) | Density(Pa/Sqm)
BANNUR | 7.56 | 27117 | 6310 | 28400 | 37600 | 46800 | 11142.8571 | 12.6581 | 6190.4762
BOGADI | 32.35 | 30984 | 7746 | 11700 | 15100 | 19500 | 4642.8571 | 12.3784 | 602.7821
H D KOTE | 7.6 | 18381 | 5557 | 18600 | 24400 | 30200 | 7190.4762 | 12.2053 | 3973.6842
HOOTAGALLI | 28.48 | 60000 | 12684 | 23800 | 31400 | 39000 | 9285.7143 | 14.4872 | 1369.382
HUNSUR | 11.76 | 60458 | 12732 | 66000 | 85000 | 104000 | 24761.9048 | 18.2692 | 8843.5374
K R NAGARA | 8.04 | 39886 | 11224 | 46000 | 56000 | 66000 | 15714.2857 | 14.1515 | 8208.9552
KADAKOLA | 34.71 | 22664 | 5676 | 8300 | 10400 | 17500 | 4166.6667 | 12.8 | 504.1775
MYSURU | 128.42 | 985940 | 172783 | 1038469 | 1171453 | 1304437 | 310580.2381 | 11.1947 | 10157.5845
NANJANGUD | 11.29 | 52284 | 13274 | 65000 | 83000 | 101000 | 24047.619 | 12.8218 | 8945.9699
PERIYAPATNA | 12 | 21427 | 5085 | 21600 | 28500 | 35400 | 8428.5714 | 13.4915 | 2950
RAMMANAHALLI | 22.81 | 27560 | 6756 | 30520 | 32265 | 34010 | 8097.619 | 5.1308 | 1491.0127
SARGUR | 3.85 | 12560 | 3385 | 14800 | 19300 | 23800 | 5666.6667 | 12.9076 | 6181.8182
SRIRAMPURA | 14.48 | 33801 | 8047 | 14600 | 19000 | 23400 | 5571.4286 | 13.8034 | 1616.0221
T NARSIPURA | 13.92 | 12816 | 8300 | 12900 | 16700 | 20500 | 4880.9524 | 10.5366 | 1472.7011
Urban Classification of Towns(URDPFI)
Class I | >1,00,000 | City Corporation
Class II | 50,000-99,999 | City Muncipal Council
Class III | 20,000-49,999 | Town Muncipal Council
Class IV | 10,000-19,999 | Town Panchayath
Class V | 5,000-9,999
Class VI | <5,000
21.06
8.06
16
47.35
16.1
34.32
15.1
[8 empty] | 21.06 |  |  |  | Madapura
16.03
8.06
16
47.35
16.1
34.32
174.02
15.1
|  |  | 21.06 |  |  |  |  | Huralikayathanahally | 15.1 | Kallawadi (Ryanankere additional STP) | 47.35
16.03
|  |  | 8.06 |  |  |  |  | Chikanahally | 16.03 | Bichanakuppe & Averanahally | 16.1
16
|  |  | 47.35 | [7 empty] | 34.32
16.1
34.32
0.08

## water Supply
WATER SUPPLY IN 2041
ULB Name | Projected Population(2041) | Total No. of Habitations(2041) | Existing Per Capita LPCD(2024) | Per Capita LPCD(2041) | Source of Water | Water requirement MLD(2041) | Availability of water MLD(2041) | Surplus MLD(2041)
BANNUR | 46800 | 11142.8571 | 125 | 135 | Kaveri River | 6.318 | 7 | 0.682
BOGADI | 19500 | 4642.8571 | 90 | 135 | Kaveri River | 2.6325 | 6 | 3.3675
H D KOTE | 30200 | 7190.4762 | 90 | 135 | Kabini Reservoir | 4.077 | 10 | 5.923
HOOTAGALLI | 39000 | 9285.7143 | 135 | 135 | Kaveri River | 5.265 | 9 | 3.735
HUNSUR | 104000 | 24761.9048 | 135 | 135 | Kaveri River and local sources | 14.04 | 18 | 3.96
K R NAGARA | 66000 | 15714.2857 | 110 | 135 | Kaveri River and Borewells | 8.91 | 10 | 1.09
KADAKOLA | 17500 | 4166.6667 | 125 | 135 | Kaveri River | 2.3625 | 6 | 3.6375
MYSURU | 1304437 | 310580.2381 | 135 | 135 | Kaveri River | 283.5 | 351.66 | 68.16
NANJANGUD | 101000 | 24047.619 | 125 | 135 | Kabini Reservoir | 14.85 | 14.96 | 0.11
PERIYAPATNA | 35400 | 8428.5714 | 70 | 135 | Kaveri River and Borewells | 4.779 | 8 | 3.221
RAMMANAHALLI | 34010 | 8097.619 | 125 | 135 | Kaveri River | 4.5914 | 7 | 2.4086
SARGUR | 23800 | 5666.6667 | 70 | 135 | Kabini Reservoir | 3.213 | 5 | 1.787
SRIRAMPURA | 23400 | 5571.4286 | 95 | 135 | Kaveri River and local sources | 3.159 | 4 | 0.841
T NARSIPURA | 20500 | 4880.9524 | 135 | 135 | Kaveri River | 2.7675 | 5 | 2.2325

## stp
DETAILS OF EXISTING STPs
ULB Name | No. of wet wells & location | No. of STP & Location | Details of STP
H D KOTE | There is no UGD system in H.D.Kote Town
HUNSUR | 3 Nos 1) Near lakshman theertha bridge. 2)Dhavani beedi. 3)Shabir nagara | 1 no 8 MLD STP at Kalkunike in the existing STP primises. Sy no: 49, Extent: 2 Acre | Installed capacity 8.00 MLD 1)8 MLD SBR STP
K R NAGARA | 5 Nos 1) Wetwell at Madhuvinahalli STP premises.Sy No: 4, 5, 6, 19/4, 19/5, 19/6, 19/7, Extent: 8 Acre 2) Wet well Bannimantapa Sy No: 23 , Extent: 10 Guntas 3) wetwell at Kalenahalli Sy No: 21/1, Extent: 10 Guntas. 4) Wetwell at Kanaka nagar Sy No: 53/3, Extent:10 Guntas. 5) Wetwell at Srirama Block, Sy No.96/5 Extent: 10 guntas | 5 nos 1) Kantenahalli - 1.45 MLD 2) Madhuvinahalli - 2.5 MLD 3) Madhuvinahalli - 1.44 MLD 4) Kantenahalli - 0.25 MLD 5) Kalenahalli road - 0.15 MLD | Installed capacity 5.79 MLD 1) Kantenahalli - 1.45 MLD - WSP 2) Madhuvinahalli - 2.5 MLD - WSP 3) Madhuvinahalli - 1.44 MLD - WSP 4) Kantenahalli - 0.25 MLD -SBR 5) Kalenahalli road - 0.15 MLD -SBR
HOOTAGALLI | 5 Nos 1) Beside D 2) STP Premises 3)Hebbal 4)Siddiquinagar 5)J P Nagar | 3 nos 1)Rayankere - 60 MLD 2) Vidyaranyapuram- 67.65 MLD 3) Kesre - 30 MLD | Installed Capacity 157.65 MLD 1)Rayankere - 60 MLD 2) Vidyaranyapuram- 67.65 MLD 3) Kesre - 30 MLD
BOGADI
KADAKOLA
MYSURU
SRIRAMPURA
RAMMANAHALLI
PERIYAPATNA | 3 Nos 1) 20 Guntas in Sy.No 98/6 of Periyapatna village. 2)1 Acre in Sy.No 100 of Mellahalli village. 3) 10 Guntas in Sy.No 8/6 of Halepete Kantapura village. | 1 No At Keernalli village-4.20 MLD | Installed capacity 4.20 MLD 1)4.20 MLD SBR STP
SARGUR | There is no UGD system in Sargur Town
NANJANGUD | 1)Deveerammanahalli | 2 Nos. 1)Adjacent to Chamarajanagar road, 2)Deveerammanahalli | Installed Capacity 7.03 MLD 1)Adjacent to Chamarajanagar road - 6.54 MLD 2)Deveerammanahalli - 0.49 MLD
T NARSIPURA | 2 Nos 1)Byrapura Village Sy No.13/1 (9 guntas) 2)T.Narasipura Village Sy No.14/8 (9 guntas) STP Premises | 1 No At Talkad road, Chowvalli | Installed capacity 50 MLD 1)50 MLD SBR STP
SEWAGE GENERATION IN 2041
ULB Name | Projected Population(2041) | Total No. of Habitations(2041) | Water requirement MLD(2041) | Sewage Generated(80% of MLD) | Present STP Capacity(MLD) | Shortage MLD | Proposed STP Capacity(MLD) | Area Required(1 MLD require 0.5 acre)
BANNUR | 46800 | 11142.8571 | 6.318 | 6.0021 | 5 | -1.0021 | Install capacity 2.00 MLD 1)2 MLD SBR STP | 1
H D KOTE | 30200 | 7190.4762 | 4.077 | 3.8731 | No STP | (-3.87) | Install capacity 4.00 MLD 1)4 MLD SBR STP | 2
HUNSUR | 104000 | 24761.9048 | 14.04 | 13.338 | 8 | -5.338 | Install capacity 8.00 MLD 1)8 MLD SBR STP | 4
K R NAGARA | 66000 | 15714.2857 | 8.91 | 8.4645 | 5.79 | -2.6745 | Install capacity 4 MLD 1) Kantenahalli - 2 MLD - SBR STP 2) Madhuvinahalli - 2 MLD - SBR STP | 2 | 36022 | 28817.6
MYSURU | 1304437 | 310580.2381 | 283.5 | 269.325 | 157.65 | -128.78 | Install capacity 130 MLD 1) Chikanahally - 25 MLD - SBR STP 2) Madapura -55 MLD - SBR STP 3)Kesare New -20 MLD-SBR STP 4)Vidyaranyapuram New-30 MLD-SBR STP | 1)12.5 | 2.5215 | 2.0172 | 3
HOOTAGALLI | 39000 | 9285.7143 | 5.265 | 5.0017 |  |  | Install capacity 4 MLD 1) Kantenahalli - 2 MLD - SBR STP 2) Madhuvinahalli - 2 MLD - SBR STP | 2)27.5 | water | sewage
KADAKOLA | 17500 | 4166.6667 | 2.3625 | 2.2444 |  |  | Install capacity 4 MLD 1) Kantenahalli - 2 MLD - SBR STP 2) Madhuvinahalli - 2 MLD - SBR STP | 3)10
SRIRAMPURA | 23400 | 5571.4286 | 3.159 | 3.001 |  |  | Install capacity 4 MLD 1) Kantenahalli - 2 MLD - SBR STP 2) Madhuvinahalli - 2 MLD - SBR STP | 4)15
RAMMANAHALLI | 34010 | 8097.619 | 4.5914 | 4.3618 |  |  | Install capacity 4 MLD 1) Kantenahalli - 2 MLD - SBR STP 2) Madhuvinahalli - 2 MLD - SBR STP
BOGADI | 19500 | 4642.8571 | 2.6325 | 2.5009 |  |  | Install capacity 4 MLD 1) Kantenahalli - 2 MLD - SBR STP 2) Madhuvinahalli - 2 MLD - SBR STP | 65 Acres
NANJANGUD | 101000 | 24047.619 | 14.85 | 14.1075 | 7.03 | -7.0775 | Install capacity 8 MLD 1)8 MLD SBR STP | 4
PERIYAPATNA | 35400 | 8428.5714 | 4.779 | 4.54 | 4.2 | -0.34005 | Install capacity 2 MLD 1)2 MLD SBR STP | 1
SARGUR | 23800 | 5666.6667 | 3.213 | 3.0524 | No STP | (-3.05) | Install capacity 4 MLD 1)4 MLD SBR STP | 2
T NARSIPURA | 20500 | 4880.9524 | 2.7675 | 2.6291 | 5.5 | 2.8709 | Install capacity 1 MLD 1)4 MLD SBR STP | 1
SEWER LINES TO BE COMPLETED FOR 2041
ULB’s | Total road network of the Town/ULB(kms) | Sewerage network executed(Kms) | Sewerage network yet to be completed(Kms)
BANNUR | 51 | 40 | 11
BOGADI | 70 | 63 | 7
H D KOTE | 74.6 | 0 | 74.6
HOOTAGALLI | 120 | 95.05 | 24.95
HUNSUR | 175 | 105 | 46.3
K R NAGARA | 115 | 85 | 30
KADAKOLA | 29.2 | 25 | 4.2
MYSURU | 1762 | 1742 | 20
NANJANGUD | 116 | 80 | 36
PERIYAPATNA | 102.51 | 66.02 | 36.49
RAMMANAHALLI | 39 | 26 | 13
SARGUR | 31 | 0 | 31
SRIRAMPURA | 32 | 25 | 7
T NARSIPURA | 67 | 60 | 7

## SWM
DETAILS OF EXISTING SWM SITE
Name of the ULB | Whether land is in possession (Yes/No) | DPR Approved (Yes/No) | If the SWM site is not in possession, Status of identification | Common facilities developed(compound wall, approach road, internal road, security room, weighbridge, toilets, wash facility, etc..) | Whether SWM Facility is in operation?
YES/ NO
Mysuru | Yes | Yes | 1)Vidyaranya puram,35 acres, Survey Nos 180,181 2)Kesare Survey Nos 308,309,312,317,20 Acres 3)Rayankere Survey Nos 89,5 acres | Developed | Yes
Nanjangud | Yes | Yes | Veeradevenapura Survey No 187 , 7.23 Acres | Developed | Yes
Hunsur | Yes | Yes | Survey No 192 Doddahunasuru, 4.50 Acres | Developed | Yes
K R Nagara | Yes | Yes | Mudlukoppalu, Survey No 95 , 4.05 Acres | Developed | Yes
Bannur | Yes | Yes | Chamanahalli Survey No 131, 5 Acres | Developed | Yes
T.Narasipura | Yes | Yes | Kudlur Survey No 144 3 acres | Developed | Yes
Periyapatna | Yes | Yes | Kaggundi-4 Acres | Developed | Yes
H D kote | Yes | Yes | VaddargudiSurvey No 47-48, 5 Acres | Developed | Yes
Sargur | Yes | Yes | Narasipura Road Survey No 84, 4 Acres | Developed | Yes
Hootagahalli | Yes | Yes | KIADB Industrial Area, site No 29 C-3, 2.70 Acres | Yet to be started | No
Bogadi | Yes | Yes | Kemmanpura Survey No 22 , 2 Acres |  | No
Kadakola | Yes | Yes | Gudumavanahalli grama survey No 68, 4 acres |  | No
No
Rammanahalli | Yes | Yes | Hanchya grama survey no 381, 2 acres
No
Srirampura | Yes | Yes | Gorur Survey No 72, 38 Guntas
WASTE GENERATION IN 2041
ULB Name | Projected Population(2041) | Total No. of Habitations(2041) | Total Waste Generation(400 grams/person/day) | Total Wet Waste Generation(250 grams/person/day) | Total Dry Waste Generation(250 grams/person/day) | Existing Area(Acre) | Area Required(Proposed Area+2.5 Acre Buffer)
BANNUR | 46800 | 11142.8571 | 16.848 | 11.7 | 1.6714 | 5 Acres | 7 Acre
H D KOTE | 30200 | 7190.4762 | 10.872 | 7.55 | 1.0786 | 5 Acres | 9.5 Acre
HUNSUR | 104000 | 24761.9048 | 37.44 | 26 | 3.7143 | 4.50 Acres | 7 Acre
K R NAGARA | 66000 | 15714.2857 | 23.76 | 16.5 | 2.3571 | 4.05 Acres | 6.55 Acre
MYSURU | 1304437 | 310580.2381 | 469.5973 | 326.1092 | 46.587 | 60 Acres | 85 Acre
HOOTAGALLI | 39000 | 9285.7143 | 14.04 | 9.75 | 1.3929 | 2.70 Acres | 4.5 Acre
SRIRAMPURA | 23400 | 5571.4286 | 8.424 | 5.85 | 0.83571 | 38 Guntas | 4 Acre
KADAKOLA | 17500 | 4166.6667 | 6.3 | 4.375 | 0.625 | 4 acres | 8.5 Acre
RAMMANAHALLI | 34010 | 8097.619 | 12.2436 | 8.5025 | 1.2146 | 2 acres | 6.5 Acre
BOGADI | 19500 | 4642.8571 | 7.02 | 4.875 | 0.69643 | 2 Acres | 6.5 Acre
NANJANGUD | 101000 | 24047.619 | 36.36 | 25.25 | 3.6071 | 7.23 Acres | 12 Acre
PERIYAPATNA | 35400 | 8428.5714 | 12.744 | 8.85 | 1.2643 | 4 Acres | 8.5 Acre
SARGUR | 23800 | 5666.6667 | 8.568 | 5.95 | 0.85 | 4 Acres | 8.5 Acre
T NARSIPURA | 20500 | 4880.9524 | 7.38 | 5.125 | 0.73214 | 3 acres | 7.5 Acre
DRY WASTE IN 2041
ULB Name | Projected Population(2041) | Total No. of Habitations(2041) | Total Dry Waste Generation(150 grams/person/day) | Existing Capacity(TDP) | Deficient(TDP)
BANNUR | 46800 | 11142.8571 | 4.212 | 5 | 0.788
H D KOTE | 30200 | 7190.4762 | 2.718 | 3 | 0.282
HUNSUR | 104000 | 24761.9048 | 9.36 | 8 | -1.36
K R NAGARA | 66000 | 15714.2857 | 5.94 | 6 | 0.06
MYSURU | 1304437 | 310580.2381 | 117.3993 | 67 | -50.3993
HOOTAGALLI | 39000 | 9285.7143 | 3.51 | No Facility | -3.51
SRIRAMPURA | 23400 | 5571.4286 | 2.106 | No Facility | -2.11
KADAKOLA | 17500 | 4166.6667 | 1.575 | No Facility | -1.58
RAMMANAHALLI | 34010 | 8097.619 | 3.0609 | No Facility | -3.06
BOGADI | 19500 | 4642.8571 | 1.755 | No Facility | -1.95
NANJANGUD | 101000 | 24047.619 | 9.09 | 5 | -4.09
PERIYAPATNA | 35400 | 8428.5714 | 3.186 | 5 | 1.814
SARGUR | 23800 | 5666.6667 | 2.142 | 2 | -0.142
T NARSIPURA | 20500 | 4880.9524 | 1.845 | 2 | 0.155

## Electricity
PROPOSED STREET LIGHTS
SL NO | ULB’s | Total Road Length(KM) | 2024 Poles with Street Light | 2041 Required Poles with Street Lights | Proposed Poles with LED Street Lights
1 | BANNUR | 51 | 1761 | 2550 | 789
2 | H D KOTE | 70 | 1901 | 3500 | 1599
3 | HUNSUR | 175 | 4538 | 8750 | 4212
4 | K R NAGARA | 115 | 4349 | 5750 | 1401
5 | NANJANGUD | 116 | 3499 | 5800 | 2301
6 | PERIYAPATNA | 102.51 | 2603 | 5126 | 2523
7 | SARGUR | 31 | 1372 | 1550 | 178
8 | T NARSIPURA | 67 | 3244 | 3350 | 106
9 | MYSURU | 1762 | 81889 | 88100 | 6211
10 | BOGADI | 70 | 1259 | 3500 | 2241
11 | HOOTAGALLI | 120 | 3535 | 6000 | 2465
12 | KADAKOLA | 29.2 | 1256 | 1460 | 204
13 | RAMMANAHALLI | 39 | 1028 | 1950 | 922
14 | SRIRAMPURA | 32 | 1135 | 1600 | 465
Total |  | 2779.71 | 113369 | 138986 | 25617
According to the Urban and Regional Development Plans Formulation & Implementation (URDPFI) Guidelines, street lighting in urban areas should be provided at regular intervals to ensure safety and visibility. Typically, street lights are recommended to be installed at intervals of 30 to 50 meters along roads and streets in urban areas.
ENERGY EFFICIENCY
If Conventional Lamps are provided for 2041 |  |  | If Smart LED are provided for 2041 |  |  | Energy Savings if LEDs are provided
Conventional Lamps | Energy Consumed(KWh/day) | Energy Consumed(KWh/year) | Replacement | Energy Consumed(KWh/day) | Energy Consumed(KWh/year) | Energy Saved(KWh/day) | Energy Saved(KWh/year)
40 W CFL Lights | 10246.8 | 3740082 | 28 W LED Lights | 7172.76 | 2618057.4 | 3074.04 | 1122024.6
250 W MH/HPSV | 64042.5 | 23375512.5 | 100 W LED Lights | 25617 | 9350205 | 38425.5 | 14025307.5
400 W MH/HPSV | 102468 | 37400820 | 150 W LED Lights | 38425.5 | 14025307.5 | 64042.5 | 23375512.5

## Road
PROPOSED ROAD IN ULBs
ULB’s | Total Road Length(KM) | Existing All Weather Road(KM) | Proposed Road Length(KM)
BANNUR | 51 | 42.25 | 8.75
BOGADI | 70 | 55 | 15
H D KOTE | 74.6 | 59.25 | 15.35
HOOTAGALLI | 120 | 94.4 | 25.6
HUNSUR | 175 | 133.82 | 41.18
K R NAGARA | 115 | 76.17 | 38.83
KADAKOLA | 29.2 | 20.76 | 8.44
MYSURU | 1762 | 1728.35 | 33.65
NANJANGUD | 116 | 79.44 | 36.56
PERIYAPATNA | 102.51 | 96.17 | 6.34
RAMMANAHALLI | 39 | 31.58 | 7.42
SARGUR | 31 | 24.5 | 6.5
SRIRAMPURA | 32 | 23.65 | 8.35
T NARSIPURA | 67 | 59.2 | 7.8
| 2784.31 | 2524.54 | 259.77

## Mysore
MYSORE IN 2041
Year | Population | Households
2011 | 920550 | 219178.5714
2021 | 1038469 | 247254.5238
2031 | 1171453 | 278917.381
2041 | 1304437 | 310580.2381
Waste Water Generation in Mysore in 2041
Year | Population | Waste Water Generation(MLD) | Existing STPs Capacity(MLD) | Excess Available(MLD)
2011 | 920550 | 118.751 | 157.65 | 38.8991
2021 | 1038469 | 133.9625 | 157.65 | 23.6875
2031 | 1171453 | 151.1174 | 157.65 | 6.5326
2041 | 1304437 | 168.2724 | 157.65 | -10.6224
Water Supply Available in Mysore for 2041
No | Year | Population | Demand (MLD) | Total quantum available (MLD) | Excess available (MLD)
1 | 2011 | 920550 | 166.89 | 247.66 | 80.77
2 | 2021 | 1038469 | 203.38 | 351.66 | 148.28
3 | 2031 | 1171453 | 256.16 | 351.66 | 95.5
4 | 2041 | 1304437 | 283.5 | 351.66 | 68.16
Solid Waste Generation in 2041
Type of Waste | Projected Population(2041) | Total No. of Habitations(2041) | Total Waste Generation( grams/person/day) | Existing Capacity(TDP) | Deficient(TDP)
Dry Waste | 1304437 | 310580.2381 | 130.4437 | 67 | -63.4437
Wet Waste |  |  | 260.8874 | 410 | 149.1126
Existing STPs in Mysuru
STPs | Rayankere (District A & D) | Vidyaranyapuram(District B) | Kesare((District C)
Location | Near Rayanakere on Manandwadi road | At Vidyaranya puram inside the sewage farm | At Kesare, side of the outer ring road
Wet Wells | 1.STP Campus | 1. J.P. Nagar | 1. Hebbal |  | 1.STP Campus
| 2.Beside D | 2. STP campus | 2. Siddiquinagar
3. STP campus
Total area covered | 48.44 Sqkm | 27.21Sqkm | 24.56Sqkm
Total capacity | 60MLD | 67.65MLD | 30MLD
Total length of sewer lines | 167.45Kms | 64.54Kms | 122.65Kms
Existing Master Balancing reservoirs in Mysore City
No | Balancing Reservoirs | Type | Capacity in Million Liters | Source of supply
1 | High level reservoir in Yadavgiri | GLSR | 22.73 | Hongally 2nd Stage
2 | Central Service Reservoir in Vijay Nagar | GLSR | 54.55 | Hongally 3rd Stage
3 | German Press Reservoir | GLSR | 16.87 | Melapura Phase I and II
4 | Near Teresian college
5 | Kuvempu nagar Reservoir | GLSR | 11.37 | Hongally 3rd Stage
6 | Devnur Reservoir | GLSR | 11.37 | Melapura Phase I and II
7 | Vanivilasa Reservoir | GLSR | 9.09 | Belagola
Existing Water Supply Schemes
SL No | Sources | 2011 | 2021 | 2024
1 | Belagola Phase I | 4.55 | 4.55 | 4.55
2 | Belagola Phase II | 11.37 | 11.37 | 11.37
3 | Belagola Phase III | 36.32 | 36.32 | 36.32
4 | Hongally IInd Stage | 36.32 | 36.32 | 36.32
5 | Hongally IIIrd Stage | 54.55 | 54.55 | 54.55
6 | Melapura IVth Stage Ist Phase | 50 | 50 | 50
7 | Melapura IVth Stage II Phase | 50 | 50 | 50
8 | Melapura IVth Stage III Phase |  | 50 | 50
9 | Bore wells fitted with Power | 4.55 | 4.55 | 4.55
Pumps 651no'sX850X4
11 | Kabini Phase I |  | 54 | 54
| Total | 247.66 | 351.66 | 351.66
Road Length | Drain length
(Km) | (Km)
1721.56 | 2989.36
Existing Solid Waste Management in Mysore
Type of Waste | Type of Treatment Facility | Capacity(TDP)
Dry Waste | 30 TPD ZWM, 20 TPD DWCC, 15 TPD MRF at Kesare, 2TPD Plastic Waste Processing Unit | 67
Wet Waste | Facility Provided-- 410TPD (200 TPD Vidyaranyapuram Waste to Compost Plant, 200 TPD Kesare Waste to Compost Plant, , 10TPD poultry waste processing) | 410
Water Supply
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
Improper frequency of Water Supply | To provide water on all the days with adequate LPCD of water according to URDPFI Guidelines | Rainwater Harvesting in addition to the Water Supply Schemes in the ULBs | To implement the Rainwater Harvesting System mandatorily for HHIG, HIG & MIG Houses
WATER SUPPLY SCHEMES IN MYSORE
Water Schemes | Belagola |  |  | Hongally |  |  | Melapura
Location | Near Belagola village |  |  | Near Hongally village |  |  | Near Mealapura village
Intake | Devaraya canal from Krishnarajasagara, Intake headwork located at MC road Between Belagola and Palahalli. |  |  | Right bank low level canal from KRS and Cauvery River. |  |  | Cauvery River just downstream of Srirangapatana
Capacity | 52.24 MLD |  |  | 90.87 MLD |  |  | 100MLD
| Phase | Year of commission | Capacity in MLD | Phase | Year of commission | Capacity in MLD | Phase | Year of commission | Capacity in MLD
| First phase | 1896 | 4.55 | First phase | 1959 | 36.32 | First phase | 2002 | 50
| Second phase | 1924 | 11.37 | Second phase | 1979 | 54.55 | Second phase | 2006 | 50
| Third phase | 1998 | 36.32
Treatment | The raw water from Devaraya irrigation canal is tapped and pumped to Vanivilasa treatment works |  |  | The treatment works are located adjacent to the intake and the treated water is pumped to the ground level reservoirs |  |  | The treatment works are located at Rammanahalli village of Mysore taluk and treated water is pumped to the Devanoor and Germen press ground level service reserviors in Mysore.
OTHER WATER SUPPLY SOURCES
1 | Bore wells fitted with Power | 4.55 MLD
Pumps 651no'sX850X4
2 | Kabini Phase I | 54 MLD
| Total | 351.66 MLD
Existing Master Balancing reservoirs in Mysore City
No | Balancing Reservoirs | Type | Capacity in Million Liters | Source of supply
1 | High level reservoir in Yadavgiri Reservoir | GLSR | 22.73 | Hongally 2nd Stage
2 | Central Service Reservoir in Vijay Nagar | GLSR | 54.55 | Hongally 3rd Stage
3 | German Press Reservoir | GLSR | 16.87 | Melapura Phase I and II
4 | Near Teresian college
5 | Kuvempu nagar Reservoir | GLSR | 11.37 | Hongally 3rd Stage
6 | Devnur Reservoir | GLSR | 11.37 | Melapura Phase I and II
7 | Vanivilasa Reservoir | GLSR | 9.09 | Belagola
Sewage Generation
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
There is no Under Ground Drainage System in Sargur and H D Kote,also the remaining sewer lines must be completed | To provide UGD to keep sanitation | To provide the UGD System to Sargur & H D Kote as the sewage is polluting the neighbouring water body | Completing the Construction of Sewage will kep the sanitation of the ULBs
There is no Sewage Treatment Plant in Sargur and H D Kote,also there will be shortage of Capacity of Existing STP Facility | To provide STP | To provide Sewage Treatment Plant in Sargur and H D Kote,also to increase the Capacity of Existing STP Facility | Constructing the STP in Sargur & H D Kote and also increasing the capacity of the existing STP Capacity for 2041
Sewage Generation in Mysore
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
1.There are several missing links at each district and 30 MLD is discharged on land, in low lying areas, which joins water bodies.  2.The total length of missing sewer line is 20 km. | Completition of Sewer lines and Construction of STP to treat the Sewage Water | 1.Existing STPs are extended to handle the estimated Sewage in 2041. 2.Additional 2 STPs are proposed to cover the missing links | 1.To construct the STP for the drainage district E.Under the Urban Renewal Project for Mysore City Corporation 2.The drainage district E covers the areas coming under MCC wards no‟s 55 and 56, part of the MUDA layouts like Alanahalli, Sathagalli, Yaraganahalli and the areas all along the TN pura road and Bannur road. 3.The catchment drains towards south east.Two locations are found suitable for location of new STP‟s they are Chikanahally & Madapura 4.Approximate area covering under this drainage district is 6.06 sq km and is proposed to be located at outer ring road junction on Bannur road.
SOLID WASTE GENERATION
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
1.Deficiency in the 100% coverage of waste generators through door to door collection . 2.Some wards are not practicing the 100% source segregation of municipal solid waste in the ULBs . 3.Waste is directly dumped without any treatment of the waste in the landfills | 1.Cover 100% of waste generators through door to door collection . 2.Achieve 100% source segregation of municipal solid waste in all ULBs . 3. 100% of the biodegradable waste to be processed using appropriate technology. 4.No waste to be dumped or burnt in open space. 5. Products made of plastic are banned under Karnataka Plastic Ban across all ULBs. 6.Reduce waste going to the landfills to less than 30% of the total waste generated. | 1.Waste should be segregated at the house itself 2.Door to door collection to be done by muncipality daily 3.Dry waste should be sent to Material Recovery Facility and Wet waste should be sent to composting and processing all the 100% of collected waste 4.After the compositing done the remaining inert material which is non reactive should be dumped in the lanndfill 5.Provide 100 m of buffer to the Sanitary Landfill to disconnect with the adjacent place present near it | The existing Facilities of all the ULBs are expanded in the area to accommodate the waste in 2041 & 100 m buffer is provided according to the URDPFI Guidelines for Sanitary Landfill Location
SOLID WASTE GENERATION IN MYSORE
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
The Current Dry Waste is sent to Material Recovery Facility but the existing facility is not sufficient to handle the waste which will be generated in 2041 | Achieve 100% of Dry Waste Processing & Material Recovery | To follow 4 Rs,Reduce,Reuse,Recycle & Regenerate 2.To Expand the Existing MRF Facility | Integrated Waste Management System is proposed for the 100% processing of waste and to provide 100 m buffer to the landfill to disconnect the landfill from adjacent properties
The Current Wet Waste is not fully treated and directly dumped to the Landfill and there by the leachate generated is directly wntering into the soil therby polluting the Ground Water | 100% Composting of the Wet Waste & only the inert material(which in non reactive in nature)should be dumpes
Street Lights
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
Some of the poles do not have have the lights in many ULBs | 100% Coverage of Street Lights | To provide Street Light for every 50 m stretch of the Road | Replacing the Conventional Light with Smart Lighting System of LEDs to reduce the electricity consumption & provide the Street Light for every 50 m stretch of the road
Receiving Stations for distribution of power from CHESCOM
Receiving Stations | Watts
Hootgalli | 163 MW
Kadakola | 111 MW
Other sources of power supply
Source | Volts
Mysore Power grid corporation (Substation located at Maidanahalli and Bastipura) | 400 KV
Karnataka Power Corporation supply( From the Shivasamudra hydro power station) | 220 KV
South India Paper Mill | 8 MV
Bhoruka Hydro Electric Power | 4.5 MV
Bannari Amman Sugar | 26 MV
Electricity Substations
No. | Location of Electricity Sub Station
1 | Hebbal
2 | Vijayanagar
3 | MCF
4 | Bllikere
5 | KHB
6 | Metgalli
7 | FTS
8 | Devanur
9 | Mysore South
10 | D.K. Maidan
11 | RK Nagar
12 | Datagalli
Transportation
Issues/Problems | Objectives | Strategies | Proposals/Policy Recommendation
259.77 km of road length is Kuccha Road | Upgrading surface of urban road to 100% of BT/CC Roads | Upgrading 259.77 km of road length from kuccha road to surfaced Road | Atal Mission for Rejuvenation and Urban Transformation -AMRUT : To provide basic civic amenities like water supply, sewerage, urban transport, parks as to improve the quality of life for all especially the poor and the disadvantaged. The focus of the Mission is on infrastructure creation that has a direct link to provision of better services to the citizens

## Rurban Cluster
Basic Amenities |  | A | B | C | D
| Desirable Component | Desired Levels | Existing Situation | Deficit (A-B) | Gaps Assuming A=100
1 | 24x7 Piped Water Supply | 70 liters per capita per day (lpcd) of safe drinking water for every households throughout the year | Existing levels of water supply at the household level. | 21.42% | 15 LPCD
|  | 70 LPCD | 55 LPCD
2 | Sanitation | 100% HH with Individual Household Latrines | Coverage of Individual Toilets in the villages at the household level | 31.98% | 1418
|  | 6880 | 5462
3 | Solid and Liquid Waste Management | Collection at HH level Treatment at Cluster Level | Existing arrangement for solid and liquid waste management at the Household/Village and Cluster level. | 70..98% | 3148
|  | 6880 | 3732
4 | Access to Village Streets with Drains | All village streets to be covered with drains | Existing coverage of village streets and drains. | 45.28% | 43.26
|  | 95.52 | 52.26
5 | Village Street Lights | All village streets to be covered with street lights as per norms | Coverage of village streets with lights | 54.17% | 2402
|  | 6880 | 4478
6 | Inter village roads connectivity | Ensure connectivity between all villages | Connectivity between villages within the cluster with roads and public transport | 15% | 15% |  |  | 9946%
|  | 100% | 85%
7 | Public transport | Inter village connectivity with adequate frequency of public transport | Existing levels of availability w.r.t Public Transport facilities both intra and inter village | 0% | 100%
|  | 8 Villages | 8 Villages
8 | LPG Gas Connections | Access to LPG connections to all households | No of households with access to LPG gas connections | 31.98% | 1418
|  | 6880 | 5462
Economic Activities |  | A | B | C | D
| Desirable Component | Desired Levels | Existing Situation | Deficit (A-B) | Gaps Assuming A=100
1 | Skill Development training Linked to Economic Activities | At-least 70 percent household with one beneficiary in each household. | Existing skills in the villages (Handicraft/Handloom/Industrial etc) No of skilled members at the HH level | 67.34% | 2986
|  | 6880 | 3912
2 | Agri-services and Processing | 1 acre of organic farm per farmer 1 agri service industry per farmer | Detail the existing Agri services and processing industries present in the cluster. | 60.11% | 6383
|  | 10618 | 4235
Social Amenities |  | A |  | B | C | D
| Desirable Component | Desired Levels |  | Existing Situation | Deficit (A-B) | Gaps Assuming A=100
1 | Health | Sub Centers/Dispensaries(1 in 5,000 Population) | 6 | 5 | 25% | 1
|  | Maternity Homes(1 in 15,000 Population) | 2 | 2 | 0 | 0
|  | Primary Health Center((1 in 30,000 Population) | 1 | 10 | 0 | 0
|  | Veternary Centers((1 in 5,000 Animal Population) | 6 | 6 | 0% | 0
2 | Up gradation of primary, secondary and higher secondary schools | Anganwadi(1 in 1,000 Population) | 30 | 25 | 25% | 5
|  | Primary School(1 in 5,000 Population) | 6 | 14 | 0% | 0
|  | Secondary School(1 in 7,500 Population) | 4 | 8 | 0% | 0
Digital Amenities |  | A |  | B | C | D
| Desirable Component | Desired Levels |  | Existing Situation | Deficit (A-B) | Gaps Assuming A=100
1 | Digital Literacy | At least one e- literate person in every household. |  |  | 27.49% | 1219
|  | 6880 |  | 5661
2 | Citizen Service Centres | One ICT enabled front end Common Service Centre (CSC) per 2 to 3 villages |  | 50% | 50% | 50%
Basic Amenities |  | Score-D | Weightage X | Overall Weightage | Weighted Score= X*D
| Desirable Component | Gaps Assuming A=100
1 | 24x7 Piped Water Supply | 21.42% | 25% | 35% | 8.5%
2 | Sanitation | 31.98% | 20% |  | 3%
3 | Solid and Liquid Waste Management | 70.98% | 15% |  | 4.7%
4 | Access to Village Streets with Drains | 45% | 15% |  | 3%
5 | Village Street Lights | 54.17% | 10% |  | 5.41%
6 | Inter village roads connectivity | 15% | 10% |  | 3%
7 | Public transport | 15% | 5% |  | 3%
8 | LPG Gas Connections | 31.99% | 10% |  | 3.19% |  |  |  | 4
|  |  | 100% |  | 34%
Economic Activities |  | Score-D | Weightage X | Overall Weightage | Weighted Score= X*D
| Desirable Component | Gaps Assuming A=100
1 | Skill Development training Linked to Economic Activities | 67.34% | 45% | 30% | 13%
2 | Agri-services and Processing | 60.11% | 55% |  | 11%
|  |  | 100% |  | 24%
Social Amenities |  | Score-D | Weightage X | Overall Weightage | Weighted Score= X*D
| Desirable Component | Gaps Assuming A=100
1 | Health | 25% | 50% | 25% | 12%
2 | Up gradation of primary, secondary and higher secondary schools | 25% | 50% |  | 12%
|  |  | 100% |  | 24%
Digital Amenities |  | Score-D | Weightage X | Overall Weightage | Weighted Score= X*D
| Desirable Component | Gaps Assuming A=100
1 | Digital Literacy | 27.49% | 50% | 10% | 7.93
2 | Citizen Service Centres | 50% | 50% |  | 10
|  |  | 100% |  | 18%
Desirable Component Ranking
| Desirable Component | Ranking | Needs
| Agri-services and Processing | 11% | Agri Research Center & Soil Testing Labs,Agri Service Centers
| Up gradation of primary, secondary and higher secondary schools | 12% | To provide good education facility within the closer proximity
| Skill Development training Linked to Economic Activities | 13% | Training People to develop the skills
| Citizen Service Centres | 10% | Upgradation of present CSC with scanners,printers,Computers,Data Operators
| Health | 12% | To provide good Health facility within the closer proximity
| Digital Literacy | 8% | 1 CFC Center to train people
| 24x7 Piped Water Supply | 9% | Construction of Water Treatment Plant(RO), Laying of pipelines(Distribution System)
| Sanitation | 3% | Purchase of Vehicle Septic Tank Desludging Machine
| Solid and Liquid Waste Management | 5% | Door to Door Collection System,Tractors for Collection,landfill to dump waste
| Access to Village Streets with Drains | 3% | Closed Drains to be constructed
| Village Street Lights | 5% | Street Lights to be repaired/replaced/Installed
| LPG Gas Connections | 2.85% | 100% use of LPG
| Public transport | 3% | Construction of 1 Bus Stop
| Inter village roads connectivity | 3% | Good Connectivity
| Total | 100%
SOCIAL PROFILE OF CLUSTER
| Details |  | GP-1 | GP-2 | GP-3 | GP-4 | GP-5 | Total
| 1 | Population(2011 Census) | 8570 | 4868 | 8355 | 1963 | 5765 | 29521
| 2 | Population(2021) | 9195 | 5596 | 10279 | 2242 | 7518 | 34830
| 3 | Population(2031) | 9933 | 6432 | 12651 | 2560 | 9804 | 41380
| 3 | Population(2041) | 10730 | 7394 | 15570 | 2924 | 12788 | 49406
PROPOSED AMENITIES FOR 2041
| Desirable Component | Population | Area Required | Proposed Nos 2041(49,406) | Area Proposed
| Skill Development training Linked to Economic Activities | 5000 | 500 Sq.M | 10 | 5000
| Agri-services and Processing | 1 for 10,000 | 500 Sq.M(Ground Coverage 60%) | 5 | 2500
| Warehouse for Storage | 1 for 10,000 | 1,000 Sq.M(Ground Coverage 60%) | 5 | 5000
| Sub Centers/Dispensaries | 1 for 5,000 | 500 Sq.M | 10 | 5000
| Anganwadi | 1 for 1,000 | 500 Sq.M | 50 | 25000
| Waste Water Treatment System | 5000 | 500 Sq.M | 10 | 2500
| Solid and Liquid Waste Management Unit | 5000 | 500 Sq.M | 10 | 2500
| Vermi Composting Plant | 5000 | 500 Sq.M | 10 | 2500
| Common Service Centre | 5000 | 500 Sq.M | 10 | 2500
SCHEMES FOR THE PROPOSED AMENITIES
| SL NO | Desirable components | Desirable Outcome | Potential Scheme for convergence
|  |  |  | Name | Brief
| 1 | Skill Development training Linked to Economic Activities | At-least 70 percent household with one beneficiaries in each households | Deen Dayal Upadhyaya Grameen Kaushalya Yojana (DDU-GKY) | 1) Outcome led design 2) Guaranteed Placement for at least 75% trained candidates 3) Shift in emphasis from training to career progression 4) Industrial Internships
| 2 | (i) Agri services andProcessing | Support to the Agriculture and Allied Activity components as per RKVY. | Rashtriya Krishi Vikas Yojna (RKVY) | Intends to incentivize the States so as to increase public investment in Agriculture and allied sectors. The scheme gives autonomy to the States to draw up plans for executing Agriculture and allied sector schemes taking into consideration the agro-climatic conditions, availability of technology, natural resources and cropping patterns in the respective districts.
| 3 | Digital Literacy (access to digital resources for all citizens) | At-least one e-literate person in every household. | Digital India | It helps them seek better livelihood opportunities and become economically secure.
| 4 | 24 x 7 Piped Water Supply | 70 liters per capita per day (lpcd) of safe drinking water for every households throughout the year | National Rural Drinking Water Programme (NRDWP) | Provision of Piped water supply to households, ensuring sustainability in drinking water schemes and convergence of all water conservation programmes. By 2022
| 5 | Sanitation | 100% HH with Individual Household Latrines | Swachh Bharat Mission-Gramin | 1)To achieve universal sanitation coverage and focus on sanitation, 2) To improve the levels of cleanliness in rural areas through Solid and Liquid Waste Management activities, 3) Making Gram Panchayats Open Defecation Free (ODF), clean and sanitized.
| 6 | Solid and Liquid Waste Management | Solid waste collection + Secondary transport for all HHs wastes and liquid waste management
| 7 | Solid Waste Treatment / Vermi compost Pit | 1 vermi- composting plant per 2500 persons/liquid waste unit (as per SBM-G guideline)
| 8 | Inter village roads connectivity | Ensure connectivity between all villages. | Pradhan Mantri Gram SadakYojana (PMGSY) | 1) All-weather road connectivity to unconnected rural habitations 2) Accessibility of unconnected habitations to the services (educational, health, marketing facilities etc.), which are not available in the unconnected Habitation.

## analysis RC
DETAILS OF CLUSTER
SL NO | Gram Panchayat | Village Name | Nearest Town | Area Under Agriculture | Area in Ha | No of HH | 2011 Total Population | 2001 Total Population | Decadal Growth Rate | Sex Ratio | Total Male Population | Total Female Population | Population(>60) | Population(15-59) | Population(0-15) | Total ST Population | Total SC Population | Literates | % of Literacy | Illiterates | % of Illiterates | Total Workers
1 | Aspathrekaval | Aspathrekaval | Hunsur (8 km) | 1414.1 | 1689.6 | 1565.75 | 6263 | 5090 | 3.4 | 930 | 2623 | 2640 | 566 | 3131.5 | 2565.5 | 116 | 1638 | 3032 | 48.4113 | 2231 | 51.5887 | 2894 |  | 1020 | 0.38636 | 38.6364
|  | Ballenahalli |  | 235.25 | 345.77 | 576.75 | 2307 | 1160 | 12.67 | 950 | 1641 | 1666 | 174 | 1153.5 | 979.5 | 221 | 497 | 723 | 31.3394 | 584 | 68.6606 | 736 |  | 264 | 0.15846 | 15.8463
2 | Govindanahalli | Hanchya | Hunsur (5 km) | 148.6 | 169.53 | 644 | 2576 | 482 | 19.5 | 973.9464 | 1305 | 1271 | 73 | 1288 | 1215 | 80 | 0 | 346 | 13.4317 | 230 | 86.5683 | 286 |  | 67 | 0.052714 | 5.2714
|  | Kottigekaval |  | 15.63 | 30.31 | 573 | 2292 | 326 | 10.43 | 998.2563 | 1147 | 1145 | 32 | 1146 | 1114 | 203 | 0 | 235 | 10.2531 | 157 | 89.7469 | 190 |  | 110 | 0.09607 | 9.607
3 | Hegganduru | Hosakote | Hunsur (7 km) | 371.6 | 408.44 | 431 | 1724 | 604 | 19.87 | 991.2281 | 1368 | 1356 | 58 | 862 | 804 | 48 | 416 | 467 | 27.0882 | 257 | 72.9118 | 384 |  | 81 | 0.059735 | 5.9735
|  | Kudlur |  | 380.8 | 426.31 | 1657.75 | 6631 | 763 | 26.21 | 979.2919 | 1497 | 1466 | 68 | 3315.5 | 3247.5 | 3 | 2 | 3603 | 54.3357 | 360 | 45.6643 | 630 |  | 169 | 0.11528 | 11.528
4 | Uddurkaval | Uddurkaval | Hunsur (8 km) | 1414 | 1614.05 | 490.75 | 1963 | 4930 | 14.22 | 989.7527 | 2830 | 2801 | 622 | 981.5 | 1210 | 357 | 1423 | 696 | 35.4559 | 2335 | 64.5441 | 2803 |  | 1119 | 0.3995 | 39.95
5 | Ummathur | Ummathur | Hunsur (7 km) | 367.9 | 424.35 | 1441.25 | 5765 | 3654 | 30.41 | 996.2296 | 2387 | 2378 | 709 | 2882.5 | 2173.5 | 2337 | 467 | 2495 | 43.2784 | 2470 | 56.7216 | 2177 |  | 467 | 0.19638 | 19.6384
|  |  |  | 4347.88 | 1289.41 | 6880 | 29521 | 17009 | 14.48 | 976 | 14798 | 14723 | 2302 | 14760.5 | 14403 | 3365 | 4443 | 11597 | 63.02 | 6154 | 36.88 | 10100
Parameters for the Selection of Sub District
Decadal Growth in Rural Population | 14.48
Decadal Growth in Non-Farm Work Force Participation | 33.08 | [6 empty] | DEMOGRAPHIC PROFILE OF CLUSTER | [8 empty] | SOCIAL PROFILE OF CLUSTER | [8 empty] | ECONOMIC PROFILE OF CLUSTER
Tourism & Piligrim Significance | Nagarhole,Sagarkatte View Point | [6 empty] | Details |  | GP-1 | GP-2 | GP-3 | GP-4 | GP-5 | Total |  | Details |  | GP-1 | GP-2 | GP-3 | GP-4 | GP-5 | Total |  | Details |  | GP-1 | GP-2 | GP-3 | GP-4 | GP-5 | Total
Presence of Economic Clusters | 34.68 Ha of Industial Area(73 Saw Mills) | [6 empty] | 1 | Total Population | 8570 | 4868 | 8355 | 1963 | 5765 | 29521 |  | 1 | Literacy Rate(Asper census 2011) | 56.46 | 70.27 | 72.49 | 72.27 | 52.36 | 63.02 |  |  | Occupational Structure
Proximity to Transport Corridor | National Highway 275 (NH 275): Connects Bangalore to Mangalore | [6 empty] | 2 | Decadal Growth Rate in Rural Population(%)(2001-2011) | 8.03% | 4.53% | 23.04% | 14.22% | 30.04% | 14.48% |  | 2 | SC Population | 2135 | 0 | 418 | 1423 | 467 | 4443 |  |  | Farm Work Force | 4059 | 688 | 1174 | 2341 | 2356 | 10618
| SH 90:Connects Hunsur to Periyapatna | [6 empty] | 3 | Household Size | 2110 | 1017 | 2023 | 491 | 1241 | 4434 |  | 3 | ST Population | 337 | 283 | 51 | 357 | 2337 | 3365 |  |  | Women as a % of Work Force | 39.13% | 35.12% | 29.5% | 39.95% | 37.5% | 36.24%
| SH 88 A:Connects Hunsur and Hassan | [8 empty] | 4.0616 | 4.7866 | 4.13 | 3.998 | 4.6454 | 4.68 |  | 5 | Education Levels | [8 empty] | Occupation by Industry(Industry in which majority of the work force is engaged in) | 1181 | 107 | 609 | 1086 | 317 | 3300
[8 empty] | 4 | Sex Ratio | 1023 | 937 | 953 | 990 | 996 | 976 |  |  | % with Higher Secondary and above | 36.33 | 28.25 | 30.7 | 28.39 | 33.3 | 32.05 |  |  | Average Distance to work place for majority of the work force in GP | 10 | 12 | 12 | 10 | 15 | 12
Parameters for the Selection of the Cluster | [7 empty] | 5 | Age Profile | [8 empty] | % with Secondary Secondary and above | 21.35 | 42.1 | 25.1 | 21.4 | 22.4 | 26.95 |  |  | Any homebased or traditional Industry | 190 | 25 | 30 | 51 | 152 | 448
Decadal Growth in Rural Population | 14.48 | [7 empty] | 0-15 | 2545 | 329 | 2178 | 210 | 1674 | 7809 |  |  | % with Primary Education and above | 42.32 | 33.45 | 44.2 | 50.21 | 44.3 | 42.36
Rise in Land Values | Yes | [7 empty] | 16-59 | 3285 | 434 | 2228 | 482 | 2383 | 9761 |  | 6 | % of Population-Disabled | 2.1 | 0.5 | 1.1 | 0.75 | 0.3 | 0.94
Decadal Growth in Non-Farm Work Force Participation | 33.08 | [7 empty] | >60 | 740 | 105 | 126 | 622 | 709 | 2302 |  | 7 | % of Single Women | 3.6 | 6.3 | 9.6 | 5.6 | 9.5 | 6.35 |  | ADMINISTRATIVE PROFILE OF CLUSTER |  |  |  | COMPONENT PROFILING
Percentage Enrollment of Girl Child in Secondary Schools | 41.05% | [6 empty] | 6 | Total Land Area | 2035.37 | 199.84 | 834.75 | 1614.05 | 424.35 | 5108.36 | [10 empty] | Details |  | Total |  | Type of Amenity | Component Details
[9 empty] | Under Agriculture | 1649.35 | 164.23 | 752.4 | 1414 | 367.9 | 4347.88 | [10 empty] | 1 | No of Grama Panchayath in cluster | 5 |  | Basic Amenities | Sanitation
[9 empty] | Under Forest | 0 | 0 | 0 | 0 | 0 | 0 |  | WEIGHTAGES FOR INFRASTRUCTURE | [8 empty] | 2 | Name of Block Headquarter | Hunsur |  |  | Provision of Piped Water Supply
[17 empty] | Variables |  | Indicators | Weightages(W) | [5 empty] | 3 | Name of the BDO | NA |  |  | Solid & Liquid Waste Management
[17 empty] | SOCIAL INFRASTRUCTURE | Education | Pre-Primary School | 1 | [5 empty] | 4 | Distance of the Block Headquarter from the largest settlement in the cluster(in KM) | 8 km |  |  | Village Streets and drains
[6 empty] | 8 | [12 empty] | Primary School | 2 | [5 empty] | 5 | Agencies Providing Key services | Grama Panchayath |  |  | Inter Village Connectivity
[19 empty] | Middle School | 3 | [6 empty] | Water Supply and Sanitation |  |  |  | Public Transport
[19 empty] | Secondary School | 4 | [6 empty] | Village streets and Drains |  |  |  | LPG Gas Connections
[18 empty] | Health | Dispensary | 1 | [9 empty] | Social Amenities | Fully Equipped Mobile Health Unit
[19 empty] | Primary Health Sub Centre | 2 | [10 empty] | Upgrading School/Higher Education Facilities
[19 empty] | Primary Health Centre | 4 | [9 empty] | Economic Amenities | Skill Development Training linked to economic Activities
[19 empty] | Community Health Centre | 6 | [10 empty] | Agro Processing,Agri-Services,Shortage and Warehousing
RURBAN CLUSTER(NEAR T N PURA) |  |  | RURBAN CLUSTER(NEAR K R NAGARA) | [13 empty] | PHYSICAL INFRASTRUCTURE | Transportation | ODR | 2 | [9 empty] | Digital Amenities | Digital Literacy
Details of Cluster | As per 2011 Census |  | Details of Cluster | As per 2011 Census | [14 empty] | MDR | 4 | [10 empty] | Citizen Service Centers-For Electronic Delivery of citizen centric services/E-Grama Connectivity
No of Grama Panchayath | 3 |  | No of Grama Panchayath | 3 | [14 empty] | SH | 8
No of Villages | 7 |  | No of Villages | 7 | [14 empty] | NH | 12
Total Area in Ha | 1325.64 |  | Total Area in Ha | 1121.6 | [13 empty] | Water Supply | Hand Pump | 1
Total Population | 28324 |  | Total Population | 25103 | [14 empty] | Other Source | 2
No of Households | 7081 |  | No of Households | 6275 | [14 empty] | Tube Wells/Borewells | 3
Total Male Population | 14199 |  | Total Male Population | 12654 | [14 empty] | Tap Water | 4
Total Female Population | 14125 |  | Total Female Population | 12449 | [12 empty] | ECONOMIC INFRASTRUCTURE | Bank | Co-operative/Commercial Bank | 4
SC Population | 9575 |  | SC Population | 8574 | [14 empty] | ATM | 2
ST Population | 1801 |  | ST Population | 1684 | [13 empty] | Tele Communication | Sub Post Office | 1
Literacy Rate | 58.82% |  | Literacy Rate | 59.7% | [14 empty] | Post Office | 2
Average Sex Ratio | 991 |  | Average Sex Ratio | 973 | [14 empty] | Post & Telegraph Office | 4
Decadal Growth Rate | 13.25 |  | Decadal Growth Rate | 12.03
Distance from District HQ | Mysore(40 KM) |  | Distance from District HQ | Mysore(40 KM)
Distance from Taluk HQ | T N Pura(7 KM) |  | Distance from Taluk HQ | K R Nagara(8 KM) | [11 empty] | WEIGHTAGES GIVEN TO THE INFRASTRUCTURE FACILITIES PRESENT IN EACH VILLAGE
[17 empty] | EDUCATION |  |  |  | HEALTH |  |  | WATER SUPPLY |  |  |  | TELE COMMUNICATION |  |  | TRANSPORTATION |  |  |  | BANK
[16 empty] | Name | Pre Primary(W=1) | Primary(W=2) | Middle(W=3) | Secondary(W=4) | Community Health Centre (CHC)(W=6) | Primary Health Centre (W=4) | Primary Health Sub Centre (W=2) | Tap Water(W=4) | Well(W=2) | Handpump(W=1) | Tubewell/Borewell(W=3) | Post Office(W=2) | Sub Post Office(W=1) | Post & Telegraph Office(W=4) | Connected to NH(W=12) | Connected to SH(W=8) | Connected to MDR(W=4) | Connected to ODR(W=2) | Commercial & Co- operative Banks(W=4) | ATM(W=2) | Sum | Weighted Score
[16 empty] | Name | Pre Primary(W=1) | Primary(W=2) | Middle(W=3) | Secondary(W=4) | Community Health Centre (CHC)(W=6) | Primary Health Centre (W=4) | Primary Health Sub Centre (W=2) | Tap Water(W=4) | Well(W=2) | Handpump(W=1) | Tubewell/Borewell(W=3) | Post Office(W=2) | Sub Post Office(W=1) | Post & Telegraph Office(W=4) | Connected to NH(W=12) | Connected to SH(W=8) | Connected to MDR(W=4) | Connected to ODR(W=2) | Commercial & Co- operative Banks(W=4) | ATM(W=2) | Sum | Weighted Score
[16 empty] | ASPATHREKAVAL | 2 | 6 | 3 | 4 | 6 | 4 | 2 | 4 | 0 | 1 | 3 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 62 | 0.091497
RURBAN CLUSTER(NEAR HUNSUR) | [15 empty] | BALLENAHALLI | 2 | 2 | 3 | 4 | 6 | 1 | 2 | 4 | 2 | 1 | 3 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 56 | 0.11
Details of Cluster | As per 2011 Census | [14 empty] | HANCHYA | 2 | 2 | 3 | 4 | 6 | 1 | 2 | 4 | 0 | 1 | 3 | 2 | 1 | 4 | 12 | 8 | 4 | 2 | 4 | 2 | 54 | 0.0974
No of Grama Panchayath | 5 | [14 empty] | KOTTIGEKAVAL | 2 | 2 | 3 | 4 | 6 | 4 | 2 | 4 | 0 | 1 | 3 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 56 | 0.11
No of Villages | 8 | [14 empty] | HOSAKOTE | 2 | 2 | 3 | 4 | 6 | 1 | 2 | 4 | 2 | 1 | 3 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 56 | 0.11
Total Area in Ha | 1289.41 | [14 empty] | KUDLUR | 2 | 2 | 3 | 4 | 6 | 4 | 2 | 4 | 0 | 1 | 0 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 60 | 0.13
Total Population | 29521 | [14 empty] | UDDURKAVAL | 2 | 4 | 3 | 4 | 6 | 4 | 2 | 4 | 2 | 1 | 3 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 56 | 0.11
No of Households | 6880 | [14 empty] | UMMATHUR | 2 | 8 | 3 | 4 | 6 | 4 | 2 | 4 | 0 | 1 | 3 | 2 | 1 | 4 | 0 | 8 | 4 | 2 | 4 | 2 | 58 | 0.12
Total Male Population | 14798
Total Female Population | 14723
SC Population | 4443
ST Population | 3365
Literacy Rate | 63.02%
Average Sex Ratio | 976
Decadal Growth Rate | 14.48
Distance from District HQ | Mysore(40 KM)
Distance from Taluk HQ | Hunsur(8 KM)

## Sheet2
State | District | Subdistt | Town/Village | Ward | EB | Level | Name | TRU | No_HH | TOT_P | TOT_M | TOT_F | P_06 | M_06 | F_06 | P_SC | M_SC | F_SC | P_ST | M_ST | F_ST | P_LIT | M_LIT | F_LIT | P_ILL | M_ILL | F_ILL | TOT_WORK_P | TOT_WORK_M | TOT_WORK_F | MAINWORK_P | MAINWORK_M | MAINWORK_F | MAIN_CL_P | MAIN_CL_M | MAIN_CL_F | MAIN_AL_P | MAIN_AL_M | MAIN_AL_F | MAIN_HH_P | MAIN_HH_M | MAIN_HH_F | MAIN_OT_P | MAIN_OT_M | MAIN_OT_F | MARGWORK_P | MARGWORK_M | MARGWORK_F | MARG_CL_P | MARG_CL_M | MARG_CL_F | MARG_AL_P | MARG_AL_M | MARG_AL_F | MARG_HH_P | MARG_HH_M | MARG_HH_F | MARG_OT_P | MARG_OT_M | MARG_OT_F | MARGWORK_3_6_P | MARGWORK_3_6_M | MARGWORK_3_6_F | MARG_CL_3_6_P | MARG_CL_3_6_M | MARG_CL_3_6_F | MARG_AL_3_6_P | MARG_AL_3_6_M | MARG_AL_3_6_F | MARG_HH_3_6_P | MARG_HH_3_6_M | MARG_HH_3_6_F | MARG_OT_3_6_P | MARG_OT_3_6_M | MARG_OT_3_6_F | MARGWORK_0_3_P | MARGWORK_0_3_M | MARGWORK_0_3_F | MARG_CL_0_3_P | MARG_CL_0_3_M | MARG_CL_0_3_F | MARG_AL_0_3_P | MARG_AL_0_3_M | MARG_AL_0_3_F | MARG_HH_0_3_P | MARG_HH_0_3_M | MARG_HH_0_3_F | MARG_OT_0_3_P | MARG_OT_0_3_M | MARG_OT_0_3_F | NON_WORK_P | NON_WORK_M | NON_WORK_F
29 | 577 | 05570 | 618351 | 0000 | 000000 | VILLAGE | Hosakote | Rural | 161 | 724 | 368 | 356 | 58 | 30 | 28 | 416 | 208 | 208 | 48 | 24 | 24 | 467 | 267 | 200 | 257 | 101 | 156 | 384 | 227 | 157 | 370 | 224 | 146 | 199 | 134 | 65 | 42 | 19 | 23 | 1 | 1 | 0 | 128 | 70 | 58 | 14 | 3 | 11 | 1 | 1 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 11 | 2 | 9 | 13 | 3 | 10 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 11 | 2 | 9 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 340 | 141 | 199
29 | 577 | 05570 | 618374 | 0000 | 000000 | VILLAGE | Kudlur | Rural | 245 | 963 | 497 | 466 | 68 | 34 | 34 | 2 | 1 | 1 | 3 | 2 | 1 | 603 | 334 | 269 | 360 | 163 | 197 | 630 | 351 | 279 | 601 | 337 | 264 | 410 | 247 | 163 | 160 | 77 | 83 | 0 | 0 | 0 | 31 | 13 | 18 | 29 | 14 | 15 | 17 | 8 | 9 | 9 | 4 | 5 | 1 | 1 | 0 | 2 | 1 | 1 | 8 | 2 | 6 | 1 | 0 | 1 | 5 | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 1 | 21 | 12 | 9 | 16 | 8 | 8 | 4 | 3 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 333 | 146 | 187
29 | 577 | 05570 | 618423 | 0000 | 000000 | VILLAGE | Hanchya | Rural | 145 | 576 | 305 | 271 | 73 | 35 | 38 | 0 | 0 | 0 | 80 | 43 | 37 | 346 | 199 | 147 | 230 | 106 | 124 | 286 | 190 | 96 | 245 | 178 | 67 | 105 | 98 | 7 | 100 | 48 | 52 | 0 | 0 | 0 | 40 | 32 | 8 | 41 | 12 | 29 | 8 | 2 | 6 | 32 | 10 | 22 | 0 | 0 | 0 | 1 | 0 | 1 | 39 | 11 | 28 | 8 | 2 | 6 | 30 | 9 | 21 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 290 | 115 | 175
29 | 577 | 05570 | 618376 | 0000 | 000000 | VILLAGE | Ummathur | Rural | 958 | 4765 | 2387 | 2378 | 709 | 382 | 327 | 467 | 242 | 225 | 2337 | 1154 | 1183 | 2295 | 1279 | 1016 | 2470 | 1108 | 1362 | 2177 | 1334 | 843 | 1695 | 1171 | 524 | 317 | 252 | 65 | 659 | 392 | 267 | 16 | 7 | 9 | 703 | 520 | 183 | 482 | 163 | 319 | 18 | 7 | 11 | 299 | 80 | 219 | 2 | 1 | 1 | 163 | 75 | 88 | 459 | 151 | 308 | 18 | 7 | 11 | 287 | 73 | 214 | 2 | 1 | 1 | 152 | 70 | 82 | 23 | 12 | 11 | 0 | 0 | 0 | 12 | 7 | 5 | 0 | 0 | 0 | 11 | 5 | 6 | 2588 | 1053 | 1535
29 | 577 | 05570 | 618375 | 0000 | 000000 | VILLAGE | Kottigekaval | Rural | 64 | 292 | 147 | 145 | 32 | 22 | 10 | 0 | 0 | 0 | 203 | 109 | 94 | 135 | 59 | 76 | 157 | 88 | 69 | 190 | 96 | 94 | 174 | 93 | 81 | 2 | 1 | 1 | 169 | 91 | 78 | 0 | 0 | 0 | 3 | 1 | 2 | 16 | 3 | 13 | 0 | 0 | 0 | 16 | 3 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 2 | 12 | 0 | 0 | 0 | 14 | 2 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 51 | 51
29 | 577 | 05570 | 618426 | 0000 | 000000 | VILLAGE | Aspathrekaval | Rural | 1297 | 5263 | 2623 | 2640 | 566 | 270 | 296 | 1638 | 821 | 817 | 116 | 55 | 61 | 3032 | 1698 | 1334 | 2231 | 925 | 1306 | 2894 | 1650 | 1244 | 2604 | 1535 | 1069 | 1087 | 723 | 364 | 788 | 373 | 415 | 78 | 21 | 57 | 651 | 418 | 233 | 290 | 115 | 175 | 8 | 4 | 4 | 98 | 50 | 48 | 1 | 0 | 1 | 183 | 61 | 122 | 282 | 111 | 171 | 8 | 4 | 4 | 97 | 49 | 48 | 1 | 0 | 1 | 176 | 58 | 118 | 8 | 4 | 4 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 7 | 3 | 4 | 2369 | 973 | 1396
29 | 577 | 05570 | 618427 | 0000 | 000000 | VILLAGE | Ballenahalli | Rural | 292 | 1307 | 641 | 666 | 174 | 82 | 92 | 497 | 242 | 255 | 221 | 109 | 112 | 723 | 376 | 347 | 584 | 265 | 319 | 736 | 402 | 334 | 401 | 282 | 119 | 94 | 89 | 5 | 263 | 153 | 110 | 0 | 0 | 0 | 44 | 40 | 4 | 335 | 120 | 215 | 13 | 0 | 13 | 296 | 111 | 185 | 2 | 1 | 1 | 24 | 8 | 16 | 268 | 116 | 152 | 6 | 0 | 6 | 247 | 110 | 137 | 1 | 1 | 0 | 14 | 5 | 9 | 67 | 4 | 63 | 7 | 0 | 7 | 49 | 1 | 48 | 1 | 0 | 1 | 10 | 3 | 7 | 571 | 239 | 332
29 | 577 | 05570 | 618429 | 0000 | 000000 | VILLAGE | Uddurkaval | Rural | 1272 | 5631 | 2830 | 2801 | 622 | 308 | 314 | 1423 | 711 | 712 | 357 | 166 | 191 | 3296 | 1823 | 1473 | 2335 | 1007 | 1328 | 2803 | 1824 | 979 | 1967 | 1500 | 467 | 1086 | 808 | 278 | 360 | 247 | 113 | 78 | 50 | 28 | 443 | 395 | 48 | 836 | 324 | 512 | 284 | 137 | 147 | 477 | 158 | 319 | 14 | 8 | 6 | 61 | 21 | 40 | 812 | 320 | 492 | 280 | 135 | 145 | 468 | 156 | 312 | 13 | 8 | 5 | 51 | 21 | 30 | 24 | 4 | 20 | 4 | 2 | 2 | 9 | 2 | 7 | 1 | 0 | 1 | 10 | 0 | 10 | 2828 | 1006 | 1822
[9 empty] | 4434 | 19521 | 9798 | 9723 | 2302 | 1163 | 1139 | 4443 | 2225 | 2218 | 3365 | 1662 | 1703 | 10897 | 6035 | 4862 | 8624 | 3763 | 4861 | 10100 | 6074 | 4026 | 8057 | 5320 | 2737 | 3300 | 2352 | 948 | 2541 | 1400 | 1141 | 173 | 79 | 94 | 2043 | 1489 | 554 | 2043 | 754 | 1289 | 349 | 159 | 190 | 1229 | 416 | 813 | 20 | 11 | 9 | 445 | 168 | 277 | 1883 | 715 | 1168 | 322 | 149 | 173 | 1137 | 399 | 738 | 18 | 11 | 7 | 406 | 156 | 250 | 160 | 39 | 121 | 27 | 10 | 17 | 92 | 17 | 75 | 2 | 0 | 2 | 39 | 12 | 27 | 9421 | 3724 | 5697
State | District | Subdistt | Town/Village | Ward | EB | Level | Name | TRU | No_HH | TOT_P | TOT_M | TOT_F | P_06 | M_06 | F_06 | P_SC | M_SC | F_SC | P_ST | M_ST | F_ST | P_LIT | M_LIT | F_LIT | P_ILL | M_ILL | F_ILL | TOT_WORK_P | TOT_WORK_M | TOT_WORK_F | MAINWORK_P | MAINWORK_M | MAINWORK_F | MAIN_CL_P | MAIN_CL_M | MAIN_CL_F | MAIN_AL_P | MAIN_AL_M | MAIN_AL_F | MAIN_HH_P | MAIN_HH_M | MAIN_HH_F | MAIN_OT_P | MAIN_OT_M | MAIN_OT_F | MARGWORK_P | MARGWORK_M | MARGWORK_F | MARG_CL_P | MARG_CL_M | MARG_CL_F | MARG_AL_P | MARG_AL_M | MARG_AL_F | MARG_HH_P | MARG_HH_M | MARG_HH_F | MARG_OT_P | MARG_OT_M | MARG_OT_F | MARGWORK_3_6_P | MARGWORK_3_6_M | MARGWORK_3_6_F | MARG_CL_3_6_P | MARG_CL_3_6_M | MARG_CL_3_6_F | MARG_AL_3_6_P | MARG_AL_3_6_M | MARG_AL_3_6_F | MARG_HH_3_6_P | MARG_HH_3_6_M | MARG_HH_3_6_F | MARG_OT_3_6_P | MARG_OT_3_6_M | MARG_OT_3_6_F | MARGWORK_0_3_P | MARGWORK_0_3_M | MARGWORK_0_3_F | MARG_CL_0_3_P | MARG_CL_0_3_M | MARG_CL_0_3_F | MARG_AL_0_3_P | MARG_AL_0_3_M | MARG_AL_0_3_F | MARG_HH_0_3_P | MARG_HH_0_3_M | MARG_HH_0_3_F | MARG_OT_0_3_P | MARG_OT_0_3_M | MARG_OT_0_3_F | NON_WORK_P | NON_WORK_M | NON_WORK_F
29 | 577 | 05570 | 618426 | 0000 | 000000 | VILLAGE | Aspathrekaval | Rural | 1297 | 5263 | 2623 | 2640 | 566 | 270 | 296 | 1638 | 821 | 817 | 116 | 55 | 61 | 3032 | 1698 | 1334 | 2231 | 925 | 1306 | 2894 | 1650 | 1244 | 2604 | 1535 | 1069 | 1087 | 723 | 364 | 788 | 373 | 415 | 78 | 21 | 57 | 651 | 418 | 233 | 290 | 115 | 175 | 8 | 4 | 4 | 98 | 50 | 48 | 1 | 0 | 1 | 183 | 61 | 122 | 282 | 111 | 171 | 8 | 4 | 4 | 97 | 49 | 48 | 1 | 0 | 1 | 176 | 58 | 118 | 8 | 4 | 4 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 7 | 3 | 4 | 2369 | 973 | 1396
29 | 577 | 05570 | 618427 | 0000 | 000000 | VILLAGE | Ballenahalli | Rural | 292 | 1307 | 641 | 666 | 174 | 82 | 92 | 497 | 242 | 255 | 221 | 109 | 112 | 723 | 376 | 347 | 584 | 265 | 319 | 736 | 402 | 334 | 401 | 282 | 119 | 94 | 89 | 5 | 263 | 153 | 110 | 0 | 0 | 0 | 44 | 40 | 4 | 335 | 120 | 215 | 13 | 0 | 13 | 296 | 111 | 185 | 2 | 1 | 1 | 24 | 8 | 16 | 268 | 116 | 152 | 6 | 0 | 6 | 247 | 110 | 137 | 1 | 1 | 0 | 14 | 5 | 9 | 67 | 4 | 63 | 7 | 0 | 7 | 49 | 1 | 48 | 1 | 0 | 1 | 10 | 3 | 7 | 571 | 239 | 332
29 | 577 | 05570 | 618423 | 0000 | 000000 | VILLAGE | Hanchya | Rural | 145 | 576 | 305 | 271 | 73 | 35 | 38 | 0 | 0 | 0 | 80 | 43 | 37 | 346 | 199 | 147 | 230 | 106 | 124 | 286 | 190 | 96 | 245 | 178 | 67 | 105 | 98 | 7 | 100 | 48 | 52 | 0 | 0 | 0 | 40 | 32 | 8 | 41 | 12 | 29 | 8 | 2 | 6 | 32 | 10 | 22 | 0 | 0 | 0 | 1 | 0 | 1 | 39 | 11 | 28 | 8 | 2 | 6 | 30 | 9 | 21 | 0 | 0 | 0 | 1 | 0 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 290 | 115 | 175
29 | 577 | 05570 | 618375 | 0000 | 000000 | VILLAGE | Kottigekaval | Rural | 64 | 292 | 147 | 145 | 32 | 22 | 10 | 0 | 0 | 0 | 203 | 109 | 94 | 135 | 59 | 76 | 157 | 88 | 69 | 190 | 96 | 94 | 174 | 93 | 81 | 2 | 1 | 1 | 169 | 91 | 78 | 0 | 0 | 0 | 3 | 1 | 2 | 16 | 3 | 13 | 0 | 0 | 0 | 16 | 3 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 2 | 12 | 0 | 0 | 0 | 14 | 2 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 51 | 51
29 | 577 | 05570 | 618351 | 0000 | 000000 | VILLAGE | Hosakote | Rural | 161 | 724 | 368 | 356 | 58 | 30 | 28 | 416 | 208 | 208 | 48 | 24 | 24 | 467 | 267 | 200 | 257 | 101 | 156 | 384 | 227 | 157 | 370 | 224 | 146 | 199 | 134 | 65 | 42 | 19 | 23 | 1 | 1 | 0 | 128 | 70 | 58 | 14 | 3 | 11 | 1 | 1 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 11 | 2 | 9 | 13 | 3 | 10 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 11 | 2 | 9 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 340 | 141 | 199
29 | 577 | 05570 | 618374 | 0000 | 000000 | VILLAGE | Kudlur | Rural | 245 | 963 | 497 | 466 | 68 | 34 | 34 | 2 | 1 | 1 | 3 | 2 | 1 | 603 | 334 | 269 | 360 | 163 | 197 | 630 | 351 | 279 | 601 | 337 | 264 | 410 | 247 | 163 | 160 | 77 | 83 | 0 | 0 | 0 | 31 | 13 | 18 | 29 | 14 | 15 | 17 | 8 | 9 | 9 | 4 | 5 | 1 | 1 | 0 | 2 | 1 | 1 | 8 | 2 | 6 | 1 | 0 | 1 | 5 | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 1 | 21 | 12 | 9 | 16 | 8 | 8 | 4 | 3 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 333 | 146 | 187
29 | 577 | 05570 | 618429 | 0000 | 000000 | VILLAGE | Uddurkaval | Rural | 1272 | 5631 | 2830 | 2801 | 622 | 308 | 314 | 1423 | 711 | 712 | 357 | 166 | 191 | 3296 | 1823 | 1473 | 2335 | 1007 | 1328 | 2803 | 1824 | 979 | 1967 | 1500 | 467 | 1086 | 808 | 278 | 360 | 247 | 113 | 78 | 50 | 28 | 443 | 395 | 48 | 836 | 324 | 512 | 284 | 137 | 147 | 477 | 158 | 319 | 14 | 8 | 6 | 61 | 21 | 40 | 812 | 320 | 492 | 280 | 135 | 145 | 468 | 156 | 312 | 13 | 8 | 5 | 51 | 21 | 30 | 24 | 4 | 20 | 4 | 2 | 2 | 9 | 2 | 7 | 1 | 0 | 1 | 10 | 0 | 10 | 2828 | 1006 | 1822
29 | 577 | 05570 | 618376 | 0000 | 000000 | VILLAGE | Ummathur | Rural | 958 | 4765 | 2387 | 2378 | 709 | 382 | 327 | 467 | 242 | 225 | 2337 | 1154 | 1183 | 2295 | 1279 | 1016 | 2470 | 1108 | 1362 | 2177 | 1334 | 843 | 1695 | 1171 | 524 | 317 | 252 | 65 | 659 | 392 | 267 | 16 | 7 | 9 | 703 | 520 | 183 | 482 | 163 | 319 | 18 | 7 | 11 | 299 | 80 | 219 | 2 | 1 | 1 | 163 | 75 | 88 | 459 | 151 | 308 | 18 | 7 | 11 | 287 | 73 | 214 | 2 | 1 | 1 | 152 | 70 | 82 | 23 | 12 | 11 | 0 | 0 | 0 | 12 | 7 | 5 | 0 | 0 | 0 | 11 | 5 | 6 | 2588 | 1053 | 1535
[31 empty] | 8057 |  |  | MAIN_AL_P: 2541 | [9 empty] | 20
[34 empty] | MAIN_AL_M: 3300; MAIN_HH_P: 788; MAIN_HH_M: 2604; MAIN_HH_F: 1 | [20 empty] | GP-6
[34 empty] | MAIN_AL_M: 173; MAIN_HH_P: 263; MAIN_HH_M: 401; MAIN_HH_F: 2 | [20 empty] | 5629
[34 empty] | MAIN_CL_P: 40; MAIN_CL_F: 10638; MAIN_AL_M: 2043; MAIN_HH_P: 100; MAIN_HH_M: 245; MAIN_HH_F: 0 | [20 empty] | 6288
[11 empty] | 6458 | 33.0823 | [21 empty] | MAIN_AL_M: 554; MAIN_HH_P: 169; MAIN_HH_M: 174; MAIN_HH_F: 0 | [20 empty] | 7077
[34 empty] | MAIN_AL_M: 349; MAIN_HH_P: 42; MAIN_HH_M: 370; MAIN_HH_F: 0 | [20 empty] | 8011
[38 empty] | 39 |  | 160 | 601 | 1
| GP-6 | 2083 | [7 empty] | GP-6 | [22 empty] | 1069 | MAIN_CL_P: 48; MAIN_HH_P: 360; MAIN_HH_M: 1967; MAIN_HH_F: 14
| 5629 | 3213 |  |  | GP-6 | [27 empty] | 119 | MAIN_CL_P: 185; MAIN_HH_P: 659; MAIN_HH_M: 1695; MAIN_HH_F: 2
| -5.59% | 575 |  |  | 57.35 |  |  |  |  | 3213 | [22 empty] | 67 | MAIN_CL_P: 22
| 1555 | 2441.5 |  |  | 529 |  |  |  |  | 46.3% | [22 empty] | 81 | MAIN_CL_P: 13
| 3.6199 | 1547.1 |  |  | 2083 |  |  |  |  | 292 | [22 empty] | 146 | MAIN_CL_P: 2
| 1034 | 0 | [7 empty] | 15 | [22 empty] | 264 | MAIN_CL_P: 5
[5 empty] | 35.3 |  |  |  |  | 153 | [22 empty] | 467 | MAIN_CL_P: 319
[5 empty] | 23.4 | [27 empty] | 524 | MAIN_CL_P: 219
41.3
0.9
3.5